## Slide 1: Oxygen cylinder

## Slide 2: Overview
How to use?
Care of cylinder
Caution during use

## Slide 3: How to connect Oxygen cylinder?

## Slide 4: Essentials of Cylinder for oxygen delivery
Pressure regulator
Flow meter are required to adjust the amount delivered to the patient

## Slide 5: How to check leak in the cylinder?
Hissing noise once the flow meter is started
Close valve, remove connection, check and refit the connector to the cylinder

## Slide 6: Storage of cylinder
Ensure the oxygen cylinders are stored in a safe and secure area where they cannot fall over and cause injury
Do not store or use cylinders near naked flames, sources of ignition or combustible materials
Smoking should not be permitted in the vicinity

## Slide 7: Thank you